The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities. These materials may have also been removed as part of maintenance or renovation activities in the years since they were identified by survey activities. Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).

	Building Name
	Material Description
	Location*

	Buhr Building
	Fire Doors (Presumed)
12” x 12” Ceiling Tile Gluepods
12” x 12” Floor Tile – Grey with Cream Streaks

12” x 12” Floor Tile – White with Black Flecks

12” x 12” Floor Tile – Cream with White and Brown

12” x 12” Floor Tile – Red and Brown with Tan Specks

12” x 12” Floor Tile – Tan with Black Streaks

2’ x 4’ Ceiling Panel – Dots with Squiggles

9” x 9” Floor Tile – Black with White Streaks

AirCell Pipe Insulation

Fume Hood (Presumed)

Mastic for 12” x 12” Floor Tile – White with Black

Mud Fitting on Brown Paper Pipe Insulation

Mud Fitting on AirCell Pipe Insulation

Stair Tread – Light Green with Cream 

Transite Ceiling Panel

Vinyl Sheet Flooring – White Pebbles
	Throughout Building
1000, 1001, 1004, 1005, 1015, 1503, 1001A, 1001B, 1001C, 1001D, 1001E, 1001F, 1001G, 1001I, 1001J, 1001L, 1002A, 1006A, 1017T, 1C01, 1C03, 1F01, 2500, 2501, 2502, 2503, 2511, 2512, 2514, 2518, 2522, 2524, 2526, 2530
1E14

0101, 0107, 0110, 0120, 1L14, 1L14, 1S10, 1S23, 1S24, 305, 3210, 3212, 305B, 305C, 306A, 306D
1474, 1474A, 1510A, 1C50
2500, 2501, 2502, 2503, 2511, 2512, 2514, 2518, 2521, 2522, 2524, 2526, 2530, 2S40
2500, 2501, 2502, 2503, 2511, 2512, 2514, 2518, 2521, 2522, 2524, 2526, 2530, 2S40
1002A, 1006A, 1C03, CS07
2012, 2012A

1004, 1300, 1315, 1400, 1430, 1450, 1466, 1470, 1017T, 1300A, 1300C, 1315A, 1315B, 1M50
3202

0101, 0107, 0110, 0120, 1L14, 1L14, 1S10, 1S23, 1S24, 305, 3210, 3212, 305B, 305C, 306A, 306D
3210, 3210B

1430, 1450, 1466, 1470, 1300A, 1300C, 1315A

2521

1010B

201, 203, 301, 303, 403

	
	*Room numbers listed are as identified at the time of the survey


