The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	Clements Library
	Fiberglass Batten Insulation (Presumed)

Fire Door (Presumed)

Fire Door Frame (Presumed)

Floor Tile
Pipe Hanger Insulation
Pipe Insulation (Straights)

Pipe Insulation (Fittings)
Paper Vapor Barrier

Radiator Backing
	Attic

BC02, 1, 3B, 4, 5, 5A, 107

1, 1A, 1B, 1C, 2A, 3, 3A, 5A, 8, 107, 200, 211

BC02, 3A
1, 2, 3A, 4, 7
7, Attic

Throughout Building
100, 104, 105

100, 103, 104


	
	*Room numbers listed are as identified at the time of the survey 




