Confined Space Evaluation Form

| Space Location and Description (ex:building name, asset #, GIS man hole #,room #) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Employee Assessing: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Purpose of entry(describe task): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |
| YES ☐ |  | NO ☐ | Is the space large enough and shaped so an individual can enter and work? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| YES ☐ |  | NO ☐ | Does the space have a limited or restricted means for entry or exit? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| YES ☐ |  | NO ☐ | Is the space NOT Designed for continuous employee occupancy? Ex: Lack of ventilation, lighting, means of safe entry… |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If you answered “NO” to any of the questions above, then the space is not a confined space. If you answered “YES” to all questions above, the space is a confined space. If Yes, continue below to identify hazards, if present. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HAZARD IDNTIFICATION - Identify, evaluate and record hazards of space to be entered by checking yes or no. |  |  |  |  |  |  |  | Yes |  |  | No |  |  | ISOLATE/ELIMINATE/CONTROL-Specify equipment and measures required to eliminate/Isolate hazards before and during entry |  |  |  |  |  |  |  |  |  |  |
| A. Does the space contain or have the potential to contain a hazardous atmosphere? Evaluate all potential entry points (pipes, ducts, vents). Include potential work induced atmospheric hazards (i.e. chemical use, painting, hot work) - Oxygen deficient or enriched (<19.5% or > 23.5%) - Flammable Gas/Vapor (%LEL) - Toxic Gas/Vapor (i.e. CO and H2S, lab/process exhaust) - Other Chemical or Dust exceeding the PEL or that could impair self-rescue? |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  | ISOLATE/ ELIMINATE ☐ Removal Source ☐Pump, Drain, Flush, Clean ☐ Blank or Blind ☐Double Block and Bleed CONTROL Ventilation: ☐Continuous Forced Air ☐ Exhaust Contact EHS if source cannot be isolated/eliminated or there are work induced hazards Other: |  |  |  |  |  |  |  |  |  |  |
| B. Does the space contain exposed Hazardous Energy Sources? (Electrical, Mechanical, Hydraulic/Pneumatic…) |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  | ISOLATE/ELIMINATE ☐ Lockout Tagout (see written procedure) ☐ Isolate/Guard ☐ Blank or Blind ☐ Blocking Other: |  |  |  |  |  |  |  |  |  |  |
| C. Temp. Extreme |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  | CONTROL ☐ Ventilation ☐ Conditioned Air ☐ Ice Vest Other: |  |  |  |  |  |  |  |  |  |  |
| D. Engulfment (Flowable material; gas, steam, liquid, loose solid) |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  | ISOLATE/ ELIMINATE ☐ Pump, Drain, Flush, Clean ☐ Blank or Blind ☐ Double Block and Bleed ☐ Other: Contact EHS if source cannot be isolated/eliminated |  |  |  |  |  |  |  |  |  |  |
| E. Entrapment/Converging Walls (pipe configuration, crawling, cyclone/hopper…) |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  | ISOLATE/ELIMINATE ☐ Install Work Platform ☐ Hole Covers ☐ Guard Rails CONTROL ☐ Personal Fall Arrest /Restraint ☐ Retrieval Other: |  |  |  |  |  |  |  |  |  |  |
| F. Fall Hazard |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  |  |  |  |  |  |  |  |  |  |  |  |
| G Slip/Trip, Limited/No Lighting, Sharp Surfaces, Hot Work, Standing Liquid, Other |  |  |  |  |  |  |  | ☐ |  |  | ☐ |  |  | ISOLATE/ELIMINATE ☐ Temp. Lighting ☐ Pump out liquid ☐ Guard/Block Other: |  |  |  |  |  |  |  |  |  |  |
| NOTICE: If any of the hazards identified cannot be eliminated, isolated or controlled, contact your EHS Representative |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Space Determination – Select one |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check If you answered “No” to all questions in the hazard identification column, use of Buddy system is required. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  | Non-Permit Required Confined Space |  |  |  |  |
| Check If all hazards can be isolated or eliminated then reclassify to Non-permit by completing the Reclassification to Non-Permit section NOTE: Control of atmospheric hazards through portable/temporary forced air ventilation does not constitute elimination of the hazards. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  | Reclassify to Non-Permit |  |  |  |  |
| If you can not reclassify or the space does not qualify as a non-permit required confined space, complete the Confined Space Permit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reclassification to Non-Permit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Types of Hazards |  |  |  |  |  |  |  |  |  | Method Applied for Eliminating / Isolating Hazards |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | ☐Lock out/Tagout ☐Isolate/Guard ☐Blank or Blind ☐ Double Block and Bleed ☐Drain ☐Pump ☐Install Work Platform ☐Hole Covers ☐Guard Rails Additional PPE: Other: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | ☐Lock out/Tagout ☐Isolate/Guard ☐Blank or Blind ☐Double Block and Bleed ☐Drain ☐Pump ☐Install Work Platform ☐Hole Covers ☐Guard Rails Additional PPE: Other: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | ☐Lock out/Tagout ☐Isolate/Guard ☐Blank or Blind ☐Double Block and Bleed ☐Drain ☐Pump ☐Install Work Platform ☐Hole Covers ☐Guard Rails Additional PPE: Other: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature of Employee Completing Reclassification: ___________________________________________________Date: __________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Confined Space Permit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Permitted space location and description: ☐ Check if same as stated on the evaluation page. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Host, General Contractor and Subs notified with the Confined Space Contractor Notification form? Yes ☐ |  |  |  |  |  |
| Purpose of entry: ☐ Check if same as stated on the evaluation page |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Authorized Date and Duration of permit: Date: From: To: |  |  |  |  |  |
| Entry Supervisor (print below) |  |  |  |  |  |  |  |  |  |  |  |  | Attendant(s) |  |  |  |  |  |  |  |  |  |  |  |
| Permit Required Entry Procedure – Select one |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ | Alternate Entry (Rescue device not set up) - If the only hazard posed is an actual or potential hazardous atmosphere and portable/temporary continuous forced air ventilation alone is sufficient to maintain that PRCS safe for entry after monitoring is completed.Onsite or set-up of rescue equipment is not required. Entrants shall wear a harness. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ | Rescue Entry – All hazards are not isolated, eliminated or controlled prior to entering the space. Rescue required. Contact EHS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Pre-Entry Briefing (check off section once completed) Review Evaluation and Methods of Isolating/Eliminating Hazards? ☐ Additional permits ☐ Hot Work ☐ EEWP ☐ Other Communication Equipment between entrant and attendant: ☐ Radio ☐Voice ☐Cell Phone ☐Other: Communication Equipment for offsite rescue ☐ Radio (channel A1) ☐ Cell Phone #_____________ Other: Rescue type (Check all that apply): ☐ Non-entry retrieval (Tripod/ Rescue Wrestlets or Anklets / Life Line) ☐ Off-site Rescue (name): ☐ Onsite Rescue (name): |  |  |  |  |  |  |  |  |  |  |  |  | Equipment Required for entry and work (check any that apply) ☐ Ventilation ☐ Lighting ☐ Barriers ☐ Ladder/Safe Access ☐ Harness Tools____________________________ PPE______________________________ Other: __________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
| 3. Authorized Entrants (Print Names) |  |  |  |  | Entry Time |  |  |  |  |  |  | Entry Time |  |  |  |  |  | Entry Time |  |  |  | Entry Time |  |  |
|  |  |  |  |  | IN |  | OUT |  |  |  |  | IN |  |  |  | OUT |  | IN |  | OUT |  | IN |  | OUT |
| 4. Gas monitor mfg./model: |  |  |  |  | Serial/unit no: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Monitor calibrated? ☐ Pre-use bump test passed to confirm function? ☐ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Test Required |  |  |  | Permissible levels |  | Initial test levels |  |  | Entrant must monitor continuously while in space and every 30 minutes communicate readings to attendant to record |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | (before vent) |  |  | Test 2 |  |  |  |  |  | Test 3 |  |  | Test 4 |  |  | Test 5 |  | Test 6 |  |
| Test Time |  |  |  | n/a |  | __:__ am/pm |  |  | __:__ am/pm |  |  |  |  |  | __:__ am/pm |  |  | __:__ am/pm |  |  | __:__ am/pm |  | __:__ am/pm |  |
| Oxygen (O2) |  |  |  | 19.5 to 23.5% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Combustible gas/vapor (LEL) |  |  |  | < 10% LEL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hydrogen sulfide (H2S) |  |  |  | < 10 PPM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Carbon monoxide (CO) |  |  |  | < 35 PPM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other: ________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Attendant’s Initials |  |  |  | n/a |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E Prior to closing/cancelling ensure all tools and people are removed from the space, all guards are re-installed and all openings are closed. Permit Close/Cancelled date/time / AM ☐ PM ☐ Debriefing occurred after entry? ☐ Unanticipated Hazards? No ☐ Yes ☐ If yes, briefly describe and complete incident or near miss report Entry Supervisor Signature: If permit was cancelled due to abnormal or emergency conditions, notify EHS Representative. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |