The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).

	Building Name
	Material Description
	Location*

	Cooley Memorial Building
	Canvas Duct Insulation

Ceiling Tile Gluepod

Chalkboard (Presumed)

Cove Base Mastic

Floor Tile
Floor Tile Mastic
Fire Door 

Fume Hood Liner (Presumed)

HVAC Fabric

Light Heat Shield

Pipe Insulation (Fittings)

Transite Paneling
	BC95

GC91, GC93, 1S91, 1922, 1943, 1947, 1947A, 2911A, 2911B, 2915A, 2915B, 2919A, 2919B, 2923A, 2923B

2918

G904, GS97, 1S97, 1916A, 1928A, 1940, 1946, 1946A, 1946B, 1956, 1958, 1959, 2S97, 2919, 2919A, 2919B, 2934, 2959, 2964, 2970, 2970A
Throughout Building
2964, 2970, 2970A
Throughout Building

1963

G933, 2950J

GC91, Tunnel to PML

B922A, GC97, G906, G906A, G932E, G935, G963A, 2918

1922, Tunnel to PML



	
	*Room numbers listed are as identified at the time of the survey 




