The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).

	Building Name
	Material Description
	Location*

	Dental School Building (Excludes the Kellogg Institute)
	Black Tar Roof Drain

Door Panel Insulation

Duct Caulk
Epoxy Floor Dam Mastic

Fire Door & Frame (Presumed)

Flooring Material (Roofing)

Floor Tile & Mastic
Fume Hood Liner

Intake Caulk

Lab Drying Rack

Metal Duct Mud Insulation

Pipe Insulation (Straights)

Pipe Insulation (Fittings)

Sink Undercoating

Transite Panel
	6223

G311A, G311B, G327E, G327J, 1038E, 1040J, 1203J, 1215E, 1325, 1327J, 1327D, 2V23, 2219J, 2327E, 2327J, 3327E, 3327J, 3328

G066P, 2C33, 2325, 2381, 2310, 2310A, 2310J, 2310K, 2310L, 3310, 3310B, 3310E, 3310F, 3310G, 3310I, 3310J, 3310K, 3310L, 3310M, 3310O, 3310P, 8205M
4327M

Throughout Building

B398, 3V23

Throughout Building

Various Locations Throughout
Building Exterior

5204, 5216, 5222

Various Locations Throughout

Throughout Building

Throughout Building

Various Locations Throughout
4327M, Building Exterior

	
	*Room numbers listed are as identified at the time of the survey


