# Facilities & Operations Energized Electrical Work Permit

An Energized Electrical Work Permit is required anytime electrical work is done on systems of 50 volts or greater and not being fully locked/tagged out. Permits must be approved by an appropriate safety representative and a qualified maintenance manager, each with approving authority.

| Preliminary Information Project information should outline what work is to be done and why it needs to be done without lockout/tagout. This information should be completed by the supervision of the worker(s) that will do the energized work. The requestor is the person wanting the work done (e.g., facility manager, the project manager, the shop foreman, etc.) |  |
| --- | --- |
| Requester Information Requester: Work Request #: Date: Date Work is Planned to Occur: | Circuit information Location: Equipment: Voltage: |
| Brief Description of Work (Install breaker, replace UPS or battery, etc.): |  |
| Reason equipment/Circuit(s) cannot be locked out (include attachment if necessary): |  |
| Consequences of unexpected fault or loss of power while energized work is in progress (Loss of UPS backup power, interruption of critical service, etc.): |  |
| Requestor of energized work (e.g. building occupant, facility manager, foreman, etc.) Name & Title: Signature: Phone: |  |

Details of Work: The details of energized work should be completed by a qualified person in conjunction with EHS and the person(s) that will be doing the work. Workers must be fully trained, briefed, equipped and understand the procedures to be followed.

Detailed description of the work to be performed (bypass switches, mid-string disconnects, switching orders):

Description of safety work practices to be followed (Insulated tools, Shielding, hot sticks etc.):

| Incident energy calculations shall be done by a licensed electrical engineer |  |
| --- | --- |
| Limited approach boundary: | Restricted approach boundary: |
| Shock PPE required: |  |
| Flash protection boundary: | Flash protection hazard category: |
| Arc flash PPE required: |  |
| Non-electrical PPE required: |  |
| Means of Restricting access to limited approach boundary (e.g. caution tape, cones, attendant, etc..): |  |

| Emergency Response |  |
| --- | --- |
| Emergency Communication Method: ☐ Radio: Channel 1A ☐ Phone: DPSS (734) 763-1131 or 911 |  |
| Nearest AED Location: |  |
| Contact release Procedure (Main Disconnect Location, Shepherds hook location, etc.): |  |
| CPR trained person on site (Required): Yes No | Job briefing completed ☐ |

| Qualified worker(s): Are adequate worker safety precautions in place and being followed? Do you agree that the above-described work can be done safely? |  |
| --- | --- |
| Name/Title: | Signature: |
| Name/Title: | Signature: |

| REQUIRED: Safety Representative (EHS): Approval of reason to allow energized work energized: Energized work must be approved by the safety department (i.e., EHS) to ensure that the reasons for doing the energized work are appropriate and in compliance with policies and regulations (e.g., safer to leave power on, turning power off is infeasible or impractical, etc.). |  |  |
| --- | --- | --- |
| Approve: ☐ Disapprove: ☐ | Name/Title: | Signature: |

| REQUIRED: Approver (e.g., electrically qualified foreman or other electrically qualified manager): All energized work permits must be reviewed and approved by a qualified manager before work can begin. |  |  |
| --- | --- | --- |
| Approve: ☐ Disapprove: ☐ | Name/Title: | Signature: |

| Permit Close Out: Each permit is for a speciﬁc location, time frame, and task. Once work is complete, each permit must be closed out. Any incidents, unexpected occurrences or deviations from planned work practices will be noted and discussed with the workers doing this work and their supervisors. |  |  |  |
| --- | --- | --- | --- |
| Date: | Time: | Name/Title: | Signature: |

Send completed permits to EHS safety representative