The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	Engineering Research Building I
	Door Frame Caulk

Fire Doors (Presumed)

Floor Tile
Floor Tile Mastic

Fume Hood Liner (Presumed)

HVAC Fabric - Canvas

Lab Drying Rack

Lab Table Top

Mudded Duct Insulation

Pipe Insulation (Fittings)

Roof Tar

Sink Undercoating

Wall Base Caulk
	Building Exterior

BC14, 1109A, 6108A, 7107, 7120, 7S13

Throughout Building
Throughout Building

112, 113

110, 7120

111, 112

106, 111, 112, 113, 4112

BC12

Throughout Building

7107, 7118, 7120

111, 113A, 6112A

Building Exterior

	
	*Room numbers listed are as identified at the time of the survey 




