The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	Engineering Research Building II
	Canvas HVAC Fabric

Floor Tile
Fire Doors (Presumed)

Fume Hood Liner (Presumed)

Grey Cabinet Liner

Lab Drying Rack
Lab Table Top

Oven Insulation (Presumed)

Pipe Insulation (Fittings)

Sink Undercoating

Tank Insulation

Vinyl Sheet and Backing Material


	247, 1203J, 1231, 1249J, 1F29

1202, 1218, 1218A, 1218B, 1230, 1239, 1248, 1251, 1259, 1260
Throughout Building

214, 1204, 1212, 1218, 1224, 1225, 1230, 1232, 1236, 1240, 1248, 1255, 1264

214, 1204, 1218 

1204, 1212, 1224, 1225, 1230, 1232, 1248, 1255, 1256, 1258, 1260, 1264
1204, 1218B, 1224, 1224B, 1230, 1232, 1239, 1248, 1251, 1256, 1256B, 1258, 1260, 1264, 1264B
1232, 1240, 1248A

Throughout Building

225, 225A, 248, 260, 1212, 1259, 1260A

215, 247, 1231

1218, 1218A, 1218B, IE21


	
	*Room numbers listed are as identified at the time of the survey 




