The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	G.G. Brown Laboratory
	Door Caulk

Fire Door (Presumed)

Fire Door Frames (Presumed)

Floor Tile
Lab Bench Top

Pipe Insulation (Straights)

Pipe Insulation (Fittings)

Transite Cabinet Liner

Transite Door

Transite Drying Rack

Transite Fume Hood

Transite Wall
	1022, 1022A, 1504A, 1504B, 2154E, 2152T
Throughout Building

Throughout Building

Throughout Building
1164, 1170,1172, 1174, 1180, 2008

1009, 1017, 1029, 1065, 1065A, 1200C, 1200G, 2200A, 2200G, 2170, 2170A, 3000, 3094
Throughout Building
1172, 1174, 1176, 1180, 2009, 2178, 2506, 2514, 3335, 3344, 3458

3016, 3018

1164, 3327,3331, 3344, 3458

Various Locations Throughout
3000, 3016, 3018


	
	*Room numbers listed are as identified at the time of the survey 




