The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	Institute for Social Research
	Black Coating on Duct Pipe
Drywall Mud

Duct Insulation

Fire Door (Presumed)

Floor Tile 
Floor Tile Mastic

Flooring Material 

Floor Sheeting

Floor Sheeting Mastic

Instrument Gauge Mud

Light Heat Shield

Pipe Insulation (Fittings)

Sink Undercoating

Transite Panel Above Window


	4015, 4032, 4068, 5C03, 5015, 5288T

Throughout Wing 2

7000

Throughout Building

Throughout Building
Throughout Building

7000

Throughout Stairwells

224, 232, 232A

8000

165

Throughout Wing 1

202, 1230, 6017

Throughout Wing 2

	
	*Room numbers listed are as identified at the time of the survey 




