
[image: image1.emf]Is suspect material

In Child Care Facility or Target 

Housing build prior to 1978?

Test for lead

using swab

Contact OSEH or 

collect bulk sample for 

lab analysis

Proceed with work

Determine

scope of work

contact OSEH.  Work may 

require State or EPA 

Certified Workers.

Yes

No

Negative

Negative

Positive Positive

Category I Project

Category II Project

Do you have

annual lead training and 

medical surveillance 

through OSEH?

Yes

Contact Supervisor. Workers 

must receive training and 

medical surveillance before 

work can begin

No

Project

will disturb

suspect lead

material

Yes

No

Contact OSEH one week 

before work begins to 

schedule air monitoring

Begin project 

planning

Category III Project

Coordinate and plan for work 

procedures for applicable 

category (see complaince 

program and checklist)

Determine waste 

handling procedures

Construction Debris Waste w/ Lead Lead Containing Waste Only

Contact OSEH HazMat for 

waste testing and pickup

Handle as regular 

construction waste

Follow necessary work 

procedures and waste 

disposal requirements (see 

checklist)

Plant Ops Lead Project Compliance Flow Chart


_1358569258.vsd
Process


Decision


Terminator


No


Yes


Is suspect material
In Child Care Facility or Target Housing build prior to 1978?


Test for lead
using swab


Contact OSEH or collect bulk sample for lab analysis


Proceed with work


Determine
scope of work


Plant Ops Lead Project Compliance Flow Chart


Coordinate and plan for work procedures for applicable category (see complaince program and checklist)


contact OSEH.  Work may require State or EPA Certified Workers.


Do you have
annual lead training and medical surveillance through OSEH?


No


Negative


Yes


Negative


Positive


Positive


Contact OSEH one week before work begins to schedule air monitoring


Begin project planning


Category III Project


Determine waste handling procedures


Construction Debris Waste w/ Lead


Category I Project


Category II Project


Lead Containing Waste Only


Yes


Contact Supervisor. Workers must receive training and medical surveillance before work can begin


Contact OSEH HazMat for waste testing and pickup


Project
will disturb
suspect lead
material


Handle as regular construction waste


Follow necessary work procedures and waste disposal requirements (see checklist)



