The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	Legal Research Library (excludes the Underground Library)
	Air Cell Board Inside Metal Partition Wall
Antique Door Glazing

Antique Window Glazing

Cove Base

Duct Insulation Inside Perimeter Wall

Electrical Wire Insulation (Presumed)

Fire Door (Presumed)

Floor Covering and Mastic

Floor Tile

Pipe Insulation (Straights)

Pipe Insulation (Fittings)
Radiator Backer Board

Sink Undercoating

Transite Panel (Presumed)

Wall Caulk

Wall Mastic

Window Caulk
	709, 711
3C08, 370

Throughout Building

Throughout Building

300

811, 812, 815, 816, 1100

Throughout Building

970B

Throughout Building

1C04, 1C05, 1V04, 105, 106A, 109A, 115, 115A, 115B, 118, 150E, 151, 154, 157, 160, 161, 190, 290, 490, 547W, 690, 735, 747M, 812, 815, 816, 831, 833, 835, 837, 847C, 992

1C04, 1C05, 105, 109A, 115, 115A, 115B, 118, 150E, 151, 154, 157, 161, 190, 290, 490, 547W, 690, 735, 815, 816, 831, 833, 835, 837, 992
109, 300A-K, 310, 311, 312, 313, 321, 321A, 360, 361, 362, 363, 365, 365A, 371, 372, 3004, 921, 922 

321A

1V03, 1V04

190, 290, 490, 690

735, 837

Building Exterior

	
	*Room numbers listed are as identified at the time of the survey 




