The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	Molecular & Behavioral Neuroscience Institute
	Bay Door Frame Caulk

Black Flooring Material

Black Slate Windowsill (Presumed)

Cabinet Liner

Duct Adhesive

Duct Insulation

Fire Door (Presumed)

Floor Covering & Mastic
Flooring Material - Black
Fume Hood Liner (Presumed)

Lab Bench Top (Presumed)

Lab Drying Rack (Presumed)

Pipe Insulation (Straights)

Pipe Insulation (Fittings)

Transite Paneling

Wall Caulk

Wall Panels

Window Caulk & Glaze


	Building Exterior
3000

Throughout First & Second Floors

G042

G016

G051

Throughout Building

Throughout Building
3000
Throughout Building

G006, G019, G020, G022, G026, G061C
G019, G019A, G028, G042, G050, G059, G061, 2V03, 2023, 2024, 2028, 2040, 2050
Throughout Building

Throughout Building

Building Exterior

Building Exterior

1013, 1055, 1068, 1068A

Building Exterior



	
	*Room numbers listed are as identified at the time of the survey 




