| Hazardous Exhaust Investigation Checklist |  |  |
| --- | --- | --- |
| The purpose of this document is to provide guidance while investigating the potential hazards within hazardous exhaust systems, Once the investigation is complete, the following documentation shall be shared with the supervisor. - Hazardous Exhaust Investigation (This document) - The related JHA - Any confined space assessment - Supporting emails and communications |  |  |
| Contact Name / Number | Department : | Building /Floor |
| AIM Work Order / Asset Number | Scope of Work Per Supervisor |  |
| CHECKLIST ☐ Have Rooftop Safety Drawings been reviewed? ☐ Can the unit be isolated with a redundant fan? ☐ Is there a bypass? ☐ The Job site exhaust system has been walked down with all involved employees. ☐ The building manager has been notified. Name /Date________________ ☐ JHA and CSA is complete | Lab Safety contact Name / Date Confirm and identify past/present use of chemical or biological sources in exhaust system that could be exposure risk Perchloric Acids ☐ YES ☐ No Biological hazards ☐ YES ☐ No Vivarium ☐ YES ☐ No Specific Chemical hazards ☐ YES ☐ No☐ If lab hazards are identified, follow rad/lab safety guidance for elimination/control of the hazard. |  |
| Inspection Inspect interior of ductwork, if feasible to identify if gross contamination is present. Results: |  |  |
| Testing Perform chemical profile testing. First test gross contamination (if present). Then, test a random area inside the ductwork. Mist the surface with tap water then use litmus paper or Spilfyter chemical test strip to test for corrosive and/or presence of chemicals. Results: | Radiation Safety Contact Name /Date Confirm and identify Past /present use of radioactive sources in exhaust system that could be exposure risk. ☐ YES ☐ No If rad hazards are identified, follow rad/lab safety guidance for elimination/control of hazard. |  |
| Discussion and Communication Discuss rad/lab findings guidance for elimination/control of hazard with all involved |  |  |