The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	School of Education
	Duct Insulation

Ceiling Insulation

Ceiling Panel

Cove Base

Fire Door (Presumed)

Floor Tile
Floor Tile Mastic

Light Heat Shield

Pipe Insulation (Straights)

Pipe Insulation (Fittings)

Transite Panel

Vinyl Floor Sheet & Stair Tread

Wall Panel Adhesive


	1214C

516, 1211

1331

BS31, 1418A

Throughout Building

Throughout Building
1056, 1058, 2S07, 2S08, 2010, 2012, 2014M, 2018M, 2022M, 2026M, 2030M, 2034M, 2038T, 2040, 2040M, 2050M, 2102A

1309

Throughout Building

Throughout Building

2003D

2S07, 2S08

2232A

	
	*Room numbers listed are as identified at the time of the survey


