The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	School of Music (Moore Building)
	Boiler Breeching Pipe Coating
Ceiling Tile Gluepod

Duct Insulation 

Electrical Wire Insulation (Presumed)

Fire Door (Presumed)

Floor Tile
Foundation Tar Paper 

Pegboard/Transite Panel

Pipe Insulation (Fittings)

Transite Panel

Univent Caulk

Vinyl Sheeting & Mastic

Wall Caulking

Window Caulking
	1008M

Throughout Building

100, 1009M

4250

Throughout Building

Throughout Building
Building Exterior

1320, 1340, 1V32

Throughout Building

1320O, 1340A

Building Exterior

4S26, 4MS26

Building Exterior

Throughout Building



	
	*Room numbers listed are as identified at the time of the survey


