The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	School of Nursing (400 North Ingalls)
	Blackboard (Presumed)

Ceiling Tile Gluepod

Ceiling Material

Door Caulk

Fire Door (Presumed)

Floor Tile
Floor Tile Mastic

Fume Hood Liner (Presumed)

Lab Table Tops (Presumed)

Light Heat Shield

Pipe Insulation (Straights)

Pipe Insulation (Fittings)

Plaster Ceiling

Transite Panel

Vinyl Sheeting
	1184, 1188, 1220, 1230, 1240, 1310, 1334, 1338, 2151, 3151, 3303, 4347

G152, G160, 170B, 170C

1240

Building Exterior

Throughout Building

Throughout Building
GE03, 3F02

G160, 2220, 2227

G152, G160, G163, 170B, 170C, 

1S04, 228P, 3227

Throughout Building

Throughout Building

2216

Throughout Building

G170, 1240, 2214, 2216, 2220, 2226 



	
	*Room numbers listed are as identified at the time of the survey


