The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	Simpson Memorial Institute 
	Black Duct Coating

Black Wall Flashing

Duct Insulation

Fire Door (Presumed)

Floor Tile
Lab Table Top

Light Heat Shield

Pipe Insulation (Straights)

Pipe Insulation (Fittings)

Sink Undercoating

Tank Insulation

Transite Cabinet Liner

Transite Fume Hood Liner (Presumed)

Transite Wall Panel

Window Frame Caulk


	205, 205A, 206, 209, 212, 300

Building Exterior

56A

Throughout Building

50, 50A, 50B, 52, 53, 54, 55, 56B
50, 50A, 51, 52, 53, 114, 114A, 206, 300, 301A, 308

2S01, 4S01

BC01, 3, 50, 50A, 52, 54, 54A, 55A, 56, 56A, 56B, 102, 103, 109, 109A, 114, 201

Throughout Building

50, 53, 109, 114, 300

401

205

50A, 51, 205, 209, 212, 311

50, 50A, 100, 102, 104

Building Exterior



	
	*Room numbers listed are as identified at the time of the survey


