The table below describes locations of known or presumed asbestos containing building materials.  The table is intended to provide general awareness information to the University community to avoid accidental disturbance of asbestos containing materials.  This document should not be relied upon for maintenance, renovation or demolition activities.  Additional asbestos containing materials may exist in inaccessible locations, such as above fixed ceilings and inside wall cavities.  Asbestos-containing material (ACM) means any material containing more than 1% asbestos.  If you have any questions or concerns regarding asbestos containing materials please contact the Environment Health & Safety (EHS) office at 734-647-1143 or you may refer to the Asbestos information page found on the EHS website (www.ehs.umich.edu).
	Building Name
	Material Description
	Location*

	South Quadrangle 
	Boiler Insulation

Covebase

Ductwork Sealant

Electrical Wire Covering (Presumed)

Elevator Door Caulk

Fire Door (Presumed)

Floor Tile

Floor Tile Mastic

HVAC Fabric (Presumed)

Pipe Insulation (Straights)
Pipe Insulation (Fittings)

Plaster Wall/Ceilings

Tank Insulation

Window Caulk


	B100A, B100B, B100D

Throughout Building

1C01, 111

3E04

3E04

Throughout Building

Throughout Building

Throughout Building

B100, B100A, B100C, B100D, G118A, G138, G143A, G143B, G145, 114, 118, 9002, 9502. 10001M, 10501M

Throughout Building
Throughout Building

Various Locations Throughout Building

B100B, B100C

1F05

	
	*Room numbers listed are as identified at the time of the survey


